## Summary
Target | Status | Rows | Median RT Δ | Max RT Δ | Smoothed Median Ratio | Smoothed Max Deviation | NL Agreement %
15N5-8-oxodG | PASS | 4 |  |  |  |  | 100
5-hmdC | PASS | 4 |  |  |  |  | 100
5-medC | PASS | 4 |  |  |  |  | 100
8-oxo-Guo | PASS | 4 |  |  |  |  | 100
8-oxodG | PASS | 4 |  |  |  |  | 100
N6-HE-dA | PASS | 4 |  |  |  |  | 100
[13C,15N2]-8-oxo-Guo | PASS | 4 |  |  |  |  | 100
d3-5-hmdC | PASS | 4 |  |  |  |  | 100
d3-5-medC | PASS | 4 |  |  |  |  | 100
d4-N6-2HE-dA | PASS | 4 |  |  |  |  | 100

## PerTarget
SampleName | Target | RT_Old | Int_Old | NL_Old | RT_New | Int_New_Raw | Int_New_Smoothed | Area_New | PeakStart_New | PeakEnd_New | NL_New
BenignfatBC1151_DNA | 15N5-8-oxodG |  |  | OK | [6 empty] | OK
BenignfatBC1151_DNA | 5-hmdC |  |  | OK | 8.6111 | 438540640 | 344488496.7457 | 132452176.3031 | 8.3207 | 8.8594 | OK
BenignfatBC1151_DNA | 5-medC |  |  | OK | 12.6261 | 202271856 | 151597038.7548 | 56899061.8513 | 12.356 | 12.9142 | OK
BenignfatBC1151_DNA | 8-oxo-Guo |  |  | ND | 14.3142 | 399008512 | 310216869.2344 | 116105791.8024 | 14.0008 | 14.6456 | NL_FAIL
BenignfatBC1151_DNA | 8-oxodG |  |  | ND | [6 empty] | NL_FAIL
BenignfatBC1151_DNA | N6-HE-dA |  |  | ND | 22.4223 | 409372000 | 324456636.3946 | 139476113.2832 | 22.1324 | 22.6707 | NL_FAIL
BenignfatBC1151_DNA | [13C,15N2]-8-oxo-Guo |  |  | OK | 14.3142 | 399008512 | 310216869.2344 | 116105791.8024 | 14.0008 | 14.6456 | OK
BenignfatBC1151_DNA | d3-5-hmdC |  |  | OK | 8.6111 | 438540640 | 344488496.7457 | 132452176.3031 | 8.3207 | 8.8594 | OK
BenignfatBC1151_DNA | d3-5-medC |  |  | OK | 12.6261 | 202271856 | 151597038.7548 | 56899061.8513 | 12.356 | 12.9142 | OK
BenignfatBC1151_DNA | d4-N6-2HE-dA |  |  | OK | 22.4223 | 409372000 | 324456636.3946 | 139476113.2832 | 22.1324 | 22.6707 | OK
Breast_Cancer_Tissue_pooled_QC1 | 15N5-8-oxodG |  |  | OK | 17.5669 | 71953704 | 63061247.5692 | 61383753.671 | 16.5301 | 17.8159 | OK
Breast_Cancer_Tissue_pooled_QC1 | 5-hmdC |  |  | OK | 8.9029 | 591372352 | 445196645.933 | 154253783.6772 | 8.6139 | 9.2344 | OK
Breast_Cancer_Tissue_pooled_QC1 | 5-medC |  |  | OK | 11.4291 | 279315392 | 163880000.7873 | 56255179.2603 | 11.1822 | 11.7403 | OK
Breast_Cancer_Tissue_pooled_QC1 | 8-oxo-Guo |  |  | ND | 14.5831 | 397659616 | 331436394.8091 | 129467696.0378 | 14.3347 | 14.9145 | NL_FAIL
Breast_Cancer_Tissue_pooled_QC1 | 8-oxodG |  |  | ND | 17.5669 | 71953704 | 63061247.5692 | 61383753.671 | 16.5301 | 17.8159 | NL_FAIL
Breast_Cancer_Tissue_pooled_QC1 | N6-HE-dA |  |  | ND | 23.353 | 396124512 | 346035308.7204 | 161186738.0377 | 23.0206 | 23.7255 | NO_MS2
Breast_Cancer_Tissue_pooled_QC1 | [13C,15N2]-8-oxo-Guo |  |  | OK | 14.5831 | 397659616 | 331436394.8091 | 129467696.0378 | 14.3347 | 14.9145 | OK
Breast_Cancer_Tissue_pooled_QC1 | d3-5-hmdC |  |  | OK | 8.9029 | 591372352 | 445196645.933 | 154253783.6772 | 8.6139 | 9.2344 | OK
Breast_Cancer_Tissue_pooled_QC1 | d3-5-medC |  |  | OK | 11.4291 | 279315392 | 163880000.7873 | 56255179.2603 | 11.1822 | 11.7403 | OK
Breast_Cancer_Tissue_pooled_QC1 | d4-N6-2HE-dA |  |  | OK | 23.353 | 396124512 | 346035308.7204 | 161186738.0377 | 23.0206 | 23.7255 | OK
NormalBC2312_DNA | 15N5-8-oxodG |  |  | OK | 17.326 | 48974300 | 48092153.0371 | 29331868.9048 | 17.0599 | 17.9642 | OK
NormalBC2312_DNA | 5-hmdC |  |  | OK | 8.6267 | 847534720 | 583067314.2733 | 205860199.4646 | 8.3368 | 8.9176 | OK
NormalBC2312_DNA | 5-medC |  |  | OK | 12.6515 | 314768000 | 237869995.3195 | 84872952.717 | 12.3717 | 12.9393 | OK
NormalBC2312_DNA | 8-oxo-Guo |  |  | ND | 14.341 | 435889792 | 381737098.2552 | 177333162.7354 | 13.6831 | 14.7139 | NL_FAIL
NormalBC2312_DNA | 8-oxodG |  |  | ND | 17.326 | 48974300 | 48092153.0371 | 29331868.9048 | 17.0599 | 17.9642 | NL_FAIL
NormalBC2312_DNA | N6-HE-dA |  |  | ND | 24.1084 | 235075360 | 195017528.6516 | 148670922.6758 | 23.4018 | 24.732 | NL_FAIL
NormalBC2312_DNA | [13C,15N2]-8-oxo-Guo |  |  | OK | 14.341 | 435889792 | 381737098.2552 | 177333162.7354 | 13.6831 | 14.7139 | OK
NormalBC2312_DNA | d3-5-hmdC |  |  | OK | 8.6267 | 847534720 | 583067314.2733 | 205860199.4646 | 8.3368 | 8.9176 | OK
NormalBC2312_DNA | d3-5-medC |  |  | OK | 12.6515 | 314768000 | 237869995.3195 | 84872952.717 | 12.3717 | 12.9393 | OK
NormalBC2312_DNA | d4-N6-2HE-dA |  |  | OK | 24.1084 | 235075360 | 195017528.6516 | 148670922.6758 | 23.4018 | 24.732 | OK
TumorBC2312_DNA | 15N5-8-oxodG |  |  | OK | 16.194 | 31972616 | 29939250.876 | 6526091.1052 | 16.0772 | 16.3086 | OK
TumorBC2312_DNA | 5-hmdC |  |  | OK | [6 empty] | OK
TumorBC2312_DNA | 5-medC |  |  | OK | 12.1866 | 411461600 | 235664483.7231 | 81695118.0206 | 11.9013 | 12.4629 | OK
TumorBC2312_DNA | 8-oxo-Guo |  |  | ND | 14.2309 | 475768864 | 423294244.4525 | 149609232.4978 | 13.9244 | 14.5445 | NL_FAIL
TumorBC2312_DNA | 8-oxodG |  |  | ND | 16.194 | 31972616 | 29939250.876 | 6526091.1052 | 16.0772 | 16.3086 | NL_FAIL
TumorBC2312_DNA | N6-HE-dA |  |  | ND | 24.0486 | 110899824 | 98934177.1367 | 46895015.7478 | 23.7576 | 24.3809 | NO_MS2
TumorBC2312_DNA | [13C,15N2]-8-oxo-Guo |  |  | OK | 14.2309 | 475768864 | 423294244.4525 | 149609232.4978 | 13.9244 | 14.5445 | OK
TumorBC2312_DNA | d3-5-hmdC |  |  | OK | [6 empty] | OK
TumorBC2312_DNA | d3-5-medC |  |  | OK | 12.1866 | 411461600 | 235664483.7231 | 81695118.0206 | 11.9013 | 12.4629 | OK
TumorBC2312_DNA | d4-N6-2HE-dA |  |  | OK | 24.0486 | 110899824 | 98934177.1367 | 46895015.7478 | 23.7576 | 24.3809 | OK

## FAIL
Target | SampleName | Issue | Reason | MetricValue | Limit | OverrideDecision | OverrideReason | Reviewer | ScreenshotPath